## Disclaimer
Disclaimer
The National Renewable Energy Laboratory (NREL) is operated for the U.S. Department of Energy (DOE) by Alliance for Sustainable Energy, LLC ("Alliance").
Access to or use of any data or software made available on this server ("Data") shall impose the following obligations on the user, and use of the Data constitutes user's agreement to these terms. The user is granted the right, without any fee or cost, to use or copy the Data, provided that this entire notice appears in all copies of the Data. Further, the user agrees to credit DOE/NREL/ALLIANCE in any publication that results from the use of the Data. The names DOE/NREL/ALLIANCE, however, may not be used in any advertising or publicity to endorse or promote any products or commercial entities unless specific written permission is obtained from DOE/NREL/ ALLIANCE. The user also understands that DOE/NREL/ALLIANCE are not obligated to provide the user with any support, consulting, training or assistance of any kind with regard to the use of the Data or to provide the user with any updates, revisions or new versions thereof. DOE, NREL, and ALLIANCE do not guarantee or endorse any results generated by use of the Data, and user is entirely responsible for the results and any reliance on the results or the Data in general.
USER AGREES TO INDEMNIFY DOE/NREL/ALLIANCE AND ITS SUBSIDIARIES, AFFILIATES, OFFICERS, AGENTS, AND EMPLOYEES AGAINST ANY CLAIM OR DEMAND, INCLUDING REASONABLE ATTORNEYS' FEES, RELATED TO USER'S USE OF THE DATA. THE DATA ARE PROVIDED BY DOE/NREL/ALLIANCE "AS IS," AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING BUT NOT LIMITED TO THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. DOE/NREL/ALLIANCE ASSUME NO LEGAL LIABILITY OR RESPONSIBILITY FOR THE ACCURACY, COMPLETENESS, OR USEFULNESS OF THE DATA, OR REPRESENT THAT ITS USE WOULD NOT INFRINGE PRIVATELY OWNED RIGHTS. IN NO EVENT SHALL DOE/NREL/ALLIANCE BE LIABLE FOR ANY SPECIAL, INDIRECT OR CONSEQUENTIAL DAMAGES OR ANY DAMAGES WHATSOEVER, INCLUDING BUT NOT LIMITED TO CLAIMS ASSOCIATED WITH THE LOSS OF DATA OR PROFITS, THAT MAY RESULT FROM AN ACTION IN CONTRACT, NEGLIGENCE OR OTHER TORTIOUS CLAIM THAT ARISES OUT OF OR IN CONNECTION WITH THE ACCESS, USE OR PERFORMANCE OF THE DATA.

## Storage Deployment by Duration
Figure 1 | Storage Deployment (GW) by Duration and Year in the Reference Case
| Year | 2-hour Battery | 4-hour Battery | 6-hour Battery | 8-hour Battery | 10-hour Battery | 12-hour pumped-hydro
| 2020 | 2.1369 | 0.5026 | 0 | 0 | 0 | 22.9152
| 2022 | 3.9849 | 1.2451 | 0 | 0 | 0 | 22.9152
| 2024 | 4.0829 | 1.3227 | 0 | 0 | 0 | 22.9152
| 2026 | 4.3431 | 3.4505 | 0.032947 | 0 | 0 | 22.9152
| 2028 | 4.3215 | 6.1724 | 0.032947 | 0 | 0 | 22.8878
| 2030 | 4.4694 | 11.8898 | 0.58019 | 0 | 0 | 22.8858
| 2032 | 5.9232 | 25.2517 | 1.2678 | 0 | 0 | 22.8858
| 2034 | 5.8761 | 33.558 | 4.5823 | 0.044733 | 0 | 22.8858
| 2036 | 5.3099 | 39.7238 | 15.1872 | 0.30519 | 0 | 22.8858
| 2038 | 4.308 | 46.6575 | 26.4992 | 1.5559 | 0 | 22.8858
| 2040 | 7.0661 | 52.3425 | 31.8328 | 4.9643 | 0.078234 | 22.8858
| 2042 | 8.5424 | 59.0634 | 37.6038 | 10.4274 | 0.10032 | 22.8858
| 2044 | 8.6031 | 65.2644 | 44.2565 | 18.9756 | 0.26975 | 22.8858
| 2046 | 9.1051 | 67.9747 | 49.9737 | 24.4691 | 3.5907 | 22.8858
| 2048 | 10.4252 | 72.1204 | 53.6364 | 30.393 | 7.0543 | 22.8858
| 2050 | 10.5599 | 80.2956 | 54.5769 | 34.8817 | 9.4897 | 22.8858

## Storage Deployment by Scenario
Figure 1 | Storage Deployment (GW) by Year and Scenario
| Year | High NG Price | High NG Price & Low Battery Cost | High PV Cost | High PV & Wind Cost | High PV & Wind Cost & Low Battery Cost | High Battery Cost | High Transmission Cost | High Transmission & Low Battery Cost | High Wind Cost | Low NG Price | Low NG Price & Low Battery Cost | Low PV Cost | Low PV & Battery Cost | Low PV & Wind Cost | Low PV, Wind & Battery Cost | Low Battery Cost | Low Wind Cost | Low Wind & Battery Cost | Reference Case
| 2020 | 25.5066 | 27.2717 | 25.4803 | 25.4766 | 27.2657 | 25.4991 | 26.4382 | 28.0356 | 25.5533 | 25.5507 | 27.3132 | 25.4343 | 27.0779 | 25.4313 | 27.0877 | 27.2326 | 25.5534 | 27.2417 | 25.5547
| 2022 | 28.0958 | 29.9079 | 28.0707 | 28.0799 | 29.9399 | 28.0893 | 29.0277 | 30.6975 | 28.1441 | 28.1403 | 29.9355 | 28.0236 | 29.7071 | 28.0203 | 29.7023 | 29.865 | 28.1428 | 29.858 | 28.1452
| 2024 | 28.6142 | 31.577 | 28.3209 | 28.3347 | 31.0651 | 28.1631 | 29.5228 | 32.8731 | 28.3234 | 28.369 | 30.9907 | 28.6457 | 31.795 | 28.6392 | 32.1803 | 30.8842 | 28.5084 | 32.3223 | 28.3208
| 2026 | 32.3606 | 38.9375 | 29.7446 | 29.6484 | 37.721 | 28.4852 | 33.1321 | 39.5823 | 30.1975 | 29.6866 | 36.0966 | 31.6408 | 38.5055 | 30.1509 | 36.5383 | 37.1514 | 29.3327 | 36.3784 | 30.7417
| 2028 | 36.5209 | 47.014 | 32.8621 | 32.2475 | 42.9236 | 28.9208 | 37.4841 | 48.2879 | 33.1031 | 32.4797 | 42.1551 | 40.7009 | 52.2102 | 35.4232 | 48.212 | 43.7437 | 32.9797 | 43.7023 | 33.4146
| 2030 | 50.744 | 76.1027 | 37.8632 | 36.905 | 51.7091 | 30.7305 | 45.4228 | 66.2384 | 40.8795 | 38.5269 | 54.8325 | 59.7474 | 85.7789 | 47.082 | 78.5069 | 59.8154 | 38.1701 | 59.3243 | 39.8252
| 2032 | 70.4657 | 97.6217 | 43.2408 | 41.9956 | 62.7567 | 33.2956 | 59.9436 | 91.1513 | 54.3183 | 43.0033 | 69.3763 | 77.0848 | 111.2945 | 60.365 | 100.0605 | 80.6719 | 45.675 | 74.8842 | 55.3285
| 2034 | 92.7275 | 127.4344 | 52.394 | 52.2396 | 76.0926 | 36.7811 | 75.6773 | 113.6916 | 67.8507 | 49.1718 | 86 | 98.2214 | 142.1843 | 80.5115 | 125.9171 | 105.4201 | 55.8565 | 90.1536 | 66.9469
| 2036 | 115.7662 | 156.054 | 59.488 | 60.8219 | 96.9877 | 43.19 | 87.1233 | 137.3045 | 87.5922 | 60.3114 | 102.4475 | 121.5617 | 171.2068 | 99.4919 | 154.0243 | 127.6759 | 67.4702 | 123.3908 | 83.4119
| 2038 | 138.2684 | 191.0704 | 68.7609 | 70.1464 | 119.3894 | 51.0216 | 103.403 | 168.919 | 111.9339 | 72.2891 | 117.0861 | 145.7322 | 207.1839 | 123.5139 | 178.071 | 150.2709 | 78.7285 | 152.0632 | 101.9064
| 2040 | 163.9713 | 237.2425 | 78.6776 | 81.3245 | 139.8249 | 59.1511 | 120.3522 | 198.0267 | 135.5715 | 80.8196 | 141.1327 | 167.7343 | 236.9137 | 145.0819 | 214.724 | 175.966 | 93.8307 | 174.4252 | 119.1698
| 2042 | 196.7936 | 287.9423 | 89.1662 | 101.7729 | 181.9107 | 72.6485 | 141.3046 | 222.8509 | 154.3425 | 90.8862 | 172.5802 | 195.4814 | 278.2884 | 166.8163 | 249.4384 | 210.3658 | 110.4945 | 203.1883 | 138.6231
| 2044 | 231.9086 | 370.1454 | 107.9873 | 116.8361 | 209.7729 | 87.9405 | 160.1987 | 260.2626 | 178.0098 | 106.715 | 209.2343 | 221.1863 | 321.2123 | 186.4335 | 285.9214 | 249.8088 | 125.6161 | 237.3616 | 160.2552
| 2046 | 275.1082 | 464.0233 | 126.4408 | 139.8164 | 251.7701 | 108.761 | 185.615 | 289.6153 | 201.1802 | 125.3814 | 237.6967 | 243.2421 | 364.3557 | 202.4772 | 344.7789 | 281.3769 | 150.6507 | 269.6098 | 177.9992
| 2048 | 325.0407 | 573.6432 | 147.8198 | 160.9051 | 291.7345 | 122.9489 | 209.0113 | 320.3135 | 224.9802 | 154.4487 | 292.9382 | 261.0247 | 428.6411 | 216.6162 | 378.5831 | 321.495 | 162.5439 | 289.0638 | 196.5152
| 2050 | 369.9526 | 678.6715 | 164.164 | 181.6008 | 347.7479 | 131.6427 | 229.1833 | 380.0365 | 244.9968 | 168.2762 | 323.1944 | 278.2529 | 505.6499 | 224.2127 | 429.6866 | 383.7009 | 172.4212 | 321.845 | 212.6897

## Storage Potential vs PV Pen.
Figure 2 | Peaking Storage Capacity Potential (GW) and Annual Energy Time-Shifting Potential (GWh) vs PV Penetration (% annual)
| Year | Scenario | Storage Peaking Capacity Potential (GW) | Annual Energy Time-Shifting Potential (GWh) | PV penetration (% annual)
| 2020 | High NG Price | 117.1235 | 28740.511 | 4.2974
| 2022 | High NG Price | 117.3319 | 38249.1404 | 4.5117
| 2024 | High NG Price | 119.049 | 51684.3779 | 6.6977
| 2026 | High NG Price | 112.4917 | 66303.3119 | 10.8962
| 2028 | High NG Price | 115.7742 | 87893.7339 | 14.1408
| 2030 | High NG Price | 128.3269 | 129310.56 | 18.5859
| 2032 | High NG Price | 153.3997 | 162312.126 | 20.7415
| 2034 | High NG Price | 160.9293 | 198510.9991 | 22.9982
| 2036 | High NG Price | 176.1811 | 243363.5757 | 25.4649
| 2038 | High NG Price | 186.4178 | 280409.7754 | 27.1258
| 2040 | High NG Price | 194.1508 | 322126.6556 | 29.166
| 2042 | High NG Price | 199.2513 | 362341.1742 | 30.9522
| 2044 | High NG Price | 205.8797 | 417556.2858 | 33.4669
| 2046 | High NG Price | 218.1085 | 486287.0078 | 36.1212
| 2048 | High NG Price | 227.5153 | 553622.7119 | 38.8616
| 2050 | High NG Price | 239.5161 | 616930.6394 | 41.3534
| 2020 | High NG Price & Low Battery Cost | 117.1235 | 28747.5275 | 4.3011
| 2022 | High NG Price & Low Battery Cost | 117.4063 | 38348.3469 | 4.5042
| 2024 | High NG Price & Low Battery Cost | 118.5636 | 50217.7482 | 6.8458
| 2026 | High NG Price & Low Battery Cost | 112.0566 | 65131.7159 | 10.6381
| 2028 | High NG Price & Low Battery Cost | 115.6945 | 92320.6456 | 14.3964
| 2030 | High NG Price & Low Battery Cost | 131.1383 | 144225.5159 | 19.2869
| 2032 | High NG Price & Low Battery Cost | 154.4617 | 179282.7414 | 21.7916
| 2034 | High NG Price & Low Battery Cost | 167.6383 | 217639.8447 | 24.0543
| 2036 | High NG Price & Low Battery Cost | 177.2231 | 264868.5405 | 26.5824
| 2038 | High NG Price & Low Battery Cost | 188.7374 | 309377.9399 | 28.7094
| 2040 | High NG Price & Low Battery Cost | 199.5584 | 358017.5321 | 31.0522
| 2042 | High NG Price & Low Battery Cost | 203.6424 | 406137.0502 | 33.2615
| 2044 | High NG Price & Low Battery Cost | 217.2889 | 479684.9152 | 36.2361
| 2046 | High NG Price & Low Battery Cost | 222.4752 | 553615.6601 | 39.6362
| 2048 | High NG Price & Low Battery Cost | 230.1064 | 635187.5552 | 43.1146
| 2050 | High NG Price & Low Battery Cost | 243.7717 | 712824.6509 | 46.0175
| 2020 | High PV Cost | 116.8792 | 27828.1302 | 4.2552
| 2022 | High PV Cost | 117.4625 | 36914.9039 | 4.4222
| 2024 | High PV Cost | 121.0799 | 42530.1463 | 4.6508
| 2026 | High PV Cost | 116.6646 | 46030.8616 | 6.385
| 2028 | High PV Cost | 115.3881 | 51160.9456 | 7.3873
| 2030 | High PV Cost | 113.8232 | 56118.5398 | 9.1514
| 2032 | High PV Cost | 112.6016 | 54999.396 | 9.96
| 2034 | High PV Cost | 112.4898 | 58636.8743 | 10.961
| 2036 | High PV Cost | 116.0526 | 62452.2061 | 11.5104
| 2038 | High PV Cost | 124.4322 | 68473.2283 | 11.9235
| 2040 | High PV Cost | 124.372 | 78350.5309 | 12.5116
| 2042 | High PV Cost | 132.2588 | 86075.5006 | 13.6593
| 2044 | High PV Cost | 138.2789 | 108931.4594 | 15.0665
| 2046 | High PV Cost | 145.7387 | 125572.2351 | 16.2865
| 2048 | High PV Cost | 164.807 | 144941.3136 | 17.9909
| 2050 | High PV Cost | 164.6974 | 162644.3562 | 19.6646
| 2020 | High PV & Wind Cost | 116.8792 | 27761.5979 | 4.2555
| 2022 | High PV & Wind Cost | 117.3971 | 36850.1829 | 4.4224
| 2024 | High PV & Wind Cost | 120.7546 | 42446.1755 | 4.6502
| 2026 | High PV & Wind Cost | 117.6279 | 46360.1779 | 6.5472
| 2028 | High PV & Wind Cost | 114.7186 | 52298.1491 | 7.7055
| 2030 | High PV & Wind Cost | 114.6772 | 58134.3687 | 9.4789
| 2032 | High PV & Wind Cost | 116.4084 | 56771.0837 | 10.256
| 2034 | High PV & Wind Cost | 115.8363 | 60065.8451 | 11.4311
| 2036 | High PV & Wind Cost | 120.9203 | 64268.9805 | 12.2537
| 2038 | High PV & Wind Cost | 124.6273 | 70677.3191 | 12.8912
| 2040 | High PV & Wind Cost | 128.5169 | 82319.5513 | 14.2916
| 2042 | High PV & Wind Cost | 141.6483 | 105059.5923 | 16.0295
| 2044 | High PV & Wind Cost | 155.6493 | 121408.4249 | 17.477
| 2046 | High PV & Wind Cost | 166.4065 | 142658.5517 | 19.0155
| 2048 | High PV & Wind Cost | 185.3009 | 183802.2772 | 21.852
| 2050 | High PV & Wind Cost | 187.2225 | 199146.9425 | 23.5399
| 2020 | High PV & Wind Cost & Low Battery Cost | 116.8792 | 27762.6185 | 4.2594
| 2022 | High PV & Wind Cost & Low Battery Cost | 117.3397 | 36876.6415 | 4.4123
| 2024 | High PV & Wind Cost & Low Battery Cost | 121.7103 | 43081.4678 | 4.6179
| 2026 | High PV & Wind Cost & Low Battery Cost | 117.3145 | 48408.5997 | 6.4588
| 2028 | High PV & Wind Cost & Low Battery Cost | 115.0458 | 53632.7182 | 7.4942
| 2030 | High PV & Wind Cost & Low Battery Cost | 113.3133 | 59072.6453 | 9.2887
| 2032 | High PV & Wind Cost & Low Battery Cost | 115.8271 | 64859.902 | 10.5947
| 2034 | High PV & Wind Cost & Low Battery Cost | 119.6025 | 69925.618 | 11.7214
| 2036 | High PV & Wind Cost & Low Battery Cost | 121.2253 | 75534.3498 | 12.7198
| 2038 | High PV & Wind Cost & Low Battery Cost | 131.1416 | 87224.4235 | 13.5333
| 2040 | High PV & Wind Cost & Low Battery Cost | 137.6338 | 100915.2367 | 14.7146
| 2042 | High PV & Wind Cost & Low Battery Cost | 148.9448 | 132495.9625 | 16.5201
| 2044 | High PV & Wind Cost & Low Battery Cost | 158.7365 | 143714.9941 | 17.7183
| 2046 | High PV & Wind Cost & Low Battery Cost | 170.5746 | 164288.8383 | 19.3398
| 2048 | High PV & Wind Cost & Low Battery Cost | 184.0386 | 208864.3807 | 22.858
| 2050 | High PV & Wind Cost & Low Battery Cost | 193.529 | 235813.2074 | 24.3587
| 2020 | High Battery Cost | 117.0336 | 27860.3084 | 4.2852
| 2022 | High Battery Cost | 117.4416 | 36861.4453 | 4.4849
| 2024 | High Battery Cost | 119.5231 | 41932.9499 | 5.7183
| 2026 | High Battery Cost | 116.2679 | 49524.3106 | 8.1312
| 2028 | High Battery Cost | 110.4793 | 57895.0086 | 10.5112
| 2030 | High Battery Cost | 112.8305 | 68124.1563 | 14.2325
| 2032 | High Battery Cost | 133.7232 | 64145.6422 | 14.8442
| 2034 | High Battery Cost | 138.2861 | 65998.6101 | 15.1377
| 2036 | High Battery Cost | 138.3894 | 70522.8135 | 16.3063
| 2038 | High Battery Cost | 147.3096 | 78694.2909 | 17.1975
| 2040 | High Battery Cost | 153.5388 | 88385.542 | 18.471
| 2042 | High Battery Cost | 165.6892 | 101648.1901 | 19.3387
| 2044 | High Battery Cost | 172.6753 | 122736.3577 | 21.5615
| 2046 | High Battery Cost | 185.0019 | 139685.9976 | 23.0413
| 2048 | High Battery Cost | 195.4417 | 165071.4332 | 24.7523
| 2050 | High Battery Cost | 199.6307 | 182053.5227 | 25.6896
| 2020 | High Transmission Cost | 116.9966 | 35332.1429 | 4.2603
| 2022 | High Transmission Cost | 117.8749 | 44619.7554 | 4.4486
| 2024 | High Transmission Cost | 120.338 | 50708.9845 | 4.9235
| 2026 | High Transmission Cost | 118.6676 | 60532.8113 | 7.8823
| 2028 | High Transmission Cost | 116.7134 | 69750.6246 | 11.2681
| 2030 | High Transmission Cost | 121.5712 | 91663.0141 | 15.2367
| 2032 | High Transmission Cost | 138.7282 | 98991.1006 | 16.1912
| 2034 | High Transmission Cost | 146.042 | 111557.5447 | 16.9897
| 2036 | High Transmission Cost | 151.2445 | 122597.1391 | 17.9877
| 2038 | High Transmission Cost | 157.1693 | 139487.6815 | 19.2148
| 2040 | High Transmission Cost | 168.376 | 160399.1309 | 21.2731
| 2042 | High Transmission Cost | 177.877 | 179641.6944 | 22.3209
| 2044 | High Transmission Cost | 184.7017 | 204761.9033 | 24.3872
| 2046 | High Transmission Cost | 195.9522 | 239050.4906 | 26.1739
| 2048 | High Transmission Cost | 207.8391 | 268929.7227 | 27.7514
| 2050 | High Transmission Cost | 211.1187 | 290484.8237 | 29.4782
| 2020 | High Transmission & Low Battery Cost | 116.9966 | 35332.4328 | 4.264
| 2022 | High Transmission & Low Battery Cost | 117.859 | 44646.4822 | 4.4474
| 2024 | High Transmission & Low Battery Cost | 120.534 | 51921.1873 | 5.0393
| 2026 | High Transmission & Low Battery Cost | 119.009 | 60125.8568 | 7.9754
| 2028 | High Transmission & Low Battery Cost | 114.5303 | 73350.8497 | 11.6528
| 2030 | High Transmission & Low Battery Cost | 118.8237 | 101288.9062 | 15.6743
| 2032 | High Transmission & Low Battery Cost | 143.3336 | 116959.5918 | 17.3907
| 2034 | High Transmission & Low Battery Cost | 149.8902 | 128808.3762 | 17.8837
| 2036 | High Transmission & Low Battery Cost | 153.7624 | 153319.3202 | 20.066
| 2038 | High Transmission & Low Battery Cost | 170.2866 | 172464.9819 | 21.1579
| 2040 | High Transmission & Low Battery Cost | 173.7189 | 194034.417 | 22.7549
| 2042 | High Transmission & Low Battery Cost | 181.8723 | 211137.1818 | 23.5941
| 2044 | High Transmission & Low Battery Cost | 187.309 | 248179.7525 | 26.5052
| 2046 | High Transmission & Low Battery Cost | 203.6651 | 265382.9244 | 27.3017
| 2048 | High Transmission & Low Battery Cost | 211.1583 | 301970.106 | 29.3569
| 2050 | High Transmission & Low Battery Cost | 219.2402 | 331375.131 | 30.933
| 2020 | High Wind Cost | 117.0336 | 27798.3317 | 4.2855
| 2022 | High Wind Cost | 117.4422 | 36776.2279 | 4.4869
| 2024 | High Wind Cost | 119.5009 | 41870.986 | 5.7819
| 2026 | High Wind Cost | 117.3608 | 50545.0689 | 8.4276
| 2028 | High Wind Cost | 113.4011 | 58293.117 | 10.8726
| 2030 | High Wind Cost | 113.586 | 74084.9467 | 14.8413
| 2032 | High Wind Cost | 137.307 | 79113.8915 | 15.57
| 2034 | High Wind Cost | 141.8043 | 88958.2505 | 16.6868
| 2036 | High Wind Cost | 149.9002 | 112572.14 | 19.0481
| 2038 | High Wind Cost | 166.1825 | 149881.7864 | 22.0199
| 2040 | High Wind Cost | 181.1282 | 181344.099 | 23.7796
| 2042 | High Wind Cost | 189.6861 | 206236.8228 | 25.3095
| 2044 | High Wind Cost | 198.422 | 247949.824 | 28.223
| 2046 | High Wind Cost | 208.6208 | 273747.528 | 30.2268
| 2048 | High Wind Cost | 222.6681 | 309304.1067 | 32.6474
| 2050 | High Wind Cost | 232.5368 | 329755.297 | 34.1458
| 2020 | Low NG Price | 116.9423 | 27945.2281 | 4.2801
| 2022 | Low NG Price | 117.4854 | 35348.5889 | 4.4701
| 2024 | Low NG Price | 120.112 | 41696.7822 | 4.9909
| 2026 | Low NG Price | 115.9376 | 45438.889 | 6.8111
| 2028 | Low NG Price | 116.1303 | 52279.7216 | 8.6151
| 2030 | Low NG Price | 115.6397 | 60599.9914 | 11.8343
| 2032 | Low NG Price | 121.3721 | 61755.8125 | 13.0768
| 2034 | Low NG Price | 124.6092 | 64190.9026 | 13.3606
| 2036 | Low NG Price | 128.8091 | 74238.5135 | 14.3041
| 2038 | Low NG Price | 135.1215 | 82491.7205 | 14.8387
| 2040 | Low NG Price | 141.078 | 90206.0838 | 15.3563
| 2042 | Low NG Price | 147.0172 | 108699.031 | 16.1052
| 2044 | Low NG Price | 157.2179 | 130692.1406 | 17.9812
| 2046 | Low NG Price | 158.6865 | 141414.4348 | 19.4552
| 2048 | Low NG Price | 173.1802 | 154236.5418 | 20.1107
| 2050 | Low NG Price | 177.5722 | 166292.0457 | 21.5252
| 2020 | Low NG Price & Low Battery Cost | 116.9423 | 27943.1436 | 4.2836
| 2022 | Low NG Price & Low Battery Cost | 117.5805 | 35330.4592 | 4.4647
| 2024 | Low NG Price & Low Battery Cost | 120.2761 | 42138.6402 | 4.9582
| 2026 | Low NG Price & Low Battery Cost | 116.5148 | 46653.7037 | 6.8695
| 2028 | Low NG Price & Low Battery Cost | 114.3292 | 53294.9804 | 9.2201
| 2030 | Low NG Price & Low Battery Cost | 112.8478 | 65036.6285 | 12.5317
| 2032 | Low NG Price & Low Battery Cost | 126.1296 | 70744.8437 | 13.7333
| 2034 | Low NG Price & Low Battery Cost | 132.6636 | 78487.8627 | 14.1608
| 2036 | Low NG Price & Low Battery Cost | 136.4803 | 90824.6626 | 15.3135
| 2038 | Low NG Price & Low Battery Cost | 145.1161 | 99538.1709 | 15.9527
| 2040 | Low NG Price & Low Battery Cost | 149.5697 | 116967.7511 | 16.9619
| 2042 | Low NG Price & Low Battery Cost | 157.5454 | 138550.5317 | 18.03
| 2044 | Low NG Price & Low Battery Cost | 166.99 | 161045.4124 | 19.6503
| 2046 | Low NG Price & Low Battery Cost | 168.5633 | 163759.6918 | 19.9236
| 2048 | Low NG Price & Low Battery Cost | 177.8088 | 188126.0257 | 21.5975
| 2050 | Low NG Price & Low Battery Cost | 182.4426 | 184779.9892 | 22.3752
| 2020 | Low PV Cost | 116.9262 | 27895.9625 | 4.3415
| 2022 | Low PV Cost | 117.2817 | 36728.5831 | 4.6111
| 2024 | Low PV Cost | 118.9792 | 45815.0905 | 7.7273
| 2026 | Low PV Cost | 112.4602 | 56992.2716 | 11.6127
| 2028 | Low PV Cost | 119.8448 | 83548.5675 | 16.6491
| 2030 | Low PV Cost | 141.3655 | 129403.9359 | 22.288
| 2032 | Low PV Cost | 168.9384 | 154095.839 | 25.0741
| 2034 | Low PV Cost | 182.601 | 180848.3889 | 26.8616
| 2036 | Low PV Cost | 191.5951 | 218640.8963 | 29.3205
| 2038 | Low PV Cost | 203.597 | 259550.8638 | 31.7824
| 2040 | Low PV Cost | 212.4572 | 286163.1496 | 33.1735
| 2042 | Low PV Cost | 218.1655 | 337283.9373 | 35.6635
| 2044 | Low PV Cost | 231.2404 | 362519.7816 | 37.0795
| 2046 | Low PV Cost | 232.0752 | 390076.3634 | 38.9904
| 2048 | Low PV Cost | 238.5795 | 418626.9669 | 40.4191
| 2050 | Low PV Cost | 244.8444 | 439355.9598 | 41.663
| 2020 | Low PV & Battery Cost | 116.9262 | 27894.8783 | 4.3451
| 2022 | Low PV & Battery Cost | 117.3347 | 36743.0549 | 4.605
| 2024 | Low PV & Battery Cost | 119.3982 | 44965.9039 | 7.7301
| 2026 | Low PV & Battery Cost | 111.7481 | 58958.0127 | 11.7732
| 2028 | Low PV & Battery Cost | 116.499 | 90611.4816 | 16.8118
| 2030 | Low PV & Battery Cost | 138.6508 | 154841.4335 | 23.3094
| 2032 | Low PV & Battery Cost | 173.0684 | 186634.4198 | 26.2603
| 2034 | Low PV & Battery Cost | 186.7226 | 226339.3948 | 28.7106
| 2036 | Low PV & Battery Cost | 197.14 | 271502.8876 | 31.4898
| 2038 | Low PV & Battery Cost | 209.4445 | 316448.7526 | 33.7054
| 2040 | Low PV & Battery Cost | 217.2632 | 345853.178 | 35.2505
| 2042 | Low PV & Battery Cost | 224.9109 | 390195.5514 | 37.2835
| 2044 | Low PV & Battery Cost | 230.4482 | 422594.69 | 39.012
| 2046 | Low PV & Battery Cost | 237.84 | 449970.0869 | 41.0472
| 2048 | Low PV & Battery Cost | 245.6937 | 497026.8075 | 43.6986
| 2050 | Low PV & Battery Cost | 252.0028 | 537108.6935 | 45.5699
| 2020 | Low PV & Wind Cost | 116.9262 | 27918.6658 | 4.3409
| 2022 | Low PV & Wind Cost | 117.5182 | 37356.0568 | 4.6087
| 2024 | Low PV & Wind Cost | 119.1582 | 49022.0434 | 7.3514
| 2026 | Low PV & Wind Cost | 109.9359 | 57105.3247 | 10.6723
| 2028 | Low PV & Wind Cost | 111.341 | 77734.8422 | 15.228
| 2030 | Low PV & Wind Cost | 128.8731 | 107917.7402 | 18.9371
| 2032 | Low PV & Wind Cost | 147.3214 | 123256.0558 | 21.8475
| 2034 | Low PV & Wind Cost | 160.1053 | 140435.2706 | 22.8524
| 2036 | Low PV & Wind Cost | 162.414 | 164208.2686 | 24.8041
| 2038 | Low PV & Wind Cost | 178.9607 | 185484.337 | 26.0629
| 2040 | Low PV & Wind Cost | 183.6676 | 205816.8084 | 27.3466
| 2042 | Low PV & Wind Cost | 191.0443 | 231150.2806 | 29.1053
| 2044 | Low PV & Wind Cost | 201.4536 | 249019.0223 | 29.8761
| 2046 | Low PV & Wind Cost | 207.4325 | 268925.8257 | 30.7474
| 2048 | Low PV & Wind Cost | 211.0192 | 295296.5906 | 32.2729
| 2050 | Low PV & Wind Cost | 210.4426 | 309801.1898 | 32.7149
| 2020 | Low PV, Wind & Battery Cost | 116.9262 | 27916.5091 | 4.3445
| 2022 | Low PV, Wind & Battery Cost | 117.5645 | 37618.4874 | 4.6025
| 2024 | Low PV, Wind & Battery Cost | 118.7672 | 50047.2985 | 7.3525
| 2026 | Low PV, Wind & Battery Cost | 109.4584 | 59901.7759 | 10.7709
| 2028 | Low PV, Wind & Battery Cost | 111.1437 | 86188.0909 | 15.6472
| 2030 | Low PV, Wind & Battery Cost | 136.9353 | 130452.1573 | 20.1314
| 2032 | Low PV, Wind & Battery Cost | 153.7095 | 153019.6723 | 23.1262
| 2034 | Low PV, Wind & Battery Cost | 164.4623 | 174089.5941 | 24.6634
| 2036 | Low PV, Wind & Battery Cost | 171.5994 | 197039.0184 | 26.3432
| 2038 | Low PV, Wind & Battery Cost | 184.2802 | 212112.096 | 27.3093
| 2040 | Low PV, Wind & Battery Cost | 188.9934 | 239130.2812 | 28.8861
| 2042 | Low PV, Wind & Battery Cost | 199.9279 | 262065.6938 | 30.2015
| 2044 | Low PV, Wind & Battery Cost | 205.9921 | 279268.0901 | 31.1284
| 2046 | Low PV, Wind & Battery Cost | 208.2275 | 292088.8078 | 31.786
| 2048 | Low PV, Wind & Battery Cost | 216.1594 | 324420.9036 | 33.4987
| 2050 | Low PV, Wind & Battery Cost | 222.6833 | 358929.2767 | 34.6432
| 2020 | Low Battery Cost | 117.0764 | 27868.3948 | 4.2861
| 2022 | Low Battery Cost | 117.6039 | 36899.0942 | 4.4755
| 2024 | Low Battery Cost | 120.4464 | 42052.0464 | 5.7414
| 2026 | Low Battery Cost | 116.0434 | 50715.3068 | 8.4779
| 2028 | Low Battery Cost | 113.3745 | 63677.8447 | 11.3602
| 2030 | Low Battery Cost | 115.7834 | 82485.1715 | 14.7332
| 2032 | Low Battery Cost | 135.2714 | 92397.8798 | 15.825
| 2034 | Low Battery Cost | 140.9189 | 112292.0471 | 18.0774
| 2036 | Low Battery Cost | 152.7624 | 133276.144 | 19.9806
| 2038 | Low Battery Cost | 162.8248 | 155626.3422 | 21.1558
| 2040 | Low Battery Cost | 167.7447 | 168755.6731 | 21.8445
| 2042 | Low Battery Cost | 172.9382 | 193366.4562 | 23.2222
| 2044 | Low Battery Cost | 182.5477 | 219458.5348 | 25.3263
| 2046 | Low Battery Cost | 190.047 | 243632.7031 | 27.1559
| 2048 | Low Battery Cost | 202.3603 | 268884.4459 | 29.0591
| 2050 | Low Battery Cost | 207.7637 | 300843.0907 | 30.5566
| 2020 | Low Wind Cost | 117.0336 | 27880.3973 | 4.2847
| 2022 | Low Wind Cost | 117.7032 | 37748.7465 | 4.4838
| 2024 | Low Wind Cost | 119.4595 | 48864.8259 | 5.4422
| 2026 | Low Wind Cost | 113.0543 | 56083.5318 | 7.8053
| 2028 | Low Wind Cost | 109.5539 | 61306.7358 | 10.2984
| 2030 | Low Wind Cost | 114.0616 | 76607.3997 | 12.5826
| 2032 | Low Wind Cost | 123.3937 | 82297.9912 | 13.6201
| 2034 | Low Wind Cost | 127.1 | 88008.254 | 14.367
| 2036 | Low Wind Cost | 135.6494 | 92493.3205 | 14.7362
| 2038 | Low Wind Cost | 134.2333 | 101737.6709 | 15.4794
| 2040 | Low Wind Cost | 142.9235 | 108437.2746 | 16.5963
| 2042 | Low Wind Cost | 152.5026 | 119722.1851 | 17.0266
| 2044 | Low Wind Cost | 153.3862 | 122510.1655 | 17.851
| 2046 | Low Wind Cost | 155.297 | 146920.141 | 19.3097
| 2048 | Low Wind Cost | 158.8662 | 161231.264 | 20.4474
| 2050 | Low Wind Cost | 169.9747 | 192697.0291 | 22.5682
| 2020 | Low Wind & Battery Cost | 117.0764 | 27888.0639 | 4.2856
| 2022 | Low Wind & Battery Cost | 117.9128 | 37928.1485 | 4.4742
| 2024 | Low Wind & Battery Cost | 120.203 | 50021.4174 | 5.2936
| 2026 | Low Wind & Battery Cost | 114.51 | 60671.4375 | 7.9681
| 2028 | Low Wind & Battery Cost | 113.6804 | 67485.7614 | 10.804
| 2030 | Low Wind & Battery Cost | 115.6503 | 85722.448 | 12.4869
| 2032 | Low Wind & Battery Cost | 125.6495 | 91837.6263 | 14.2003
| 2034 | Low Wind & Battery Cost | 127.0464 | 99014.5252 | 15.2465
| 2036 | Low Wind & Battery Cost | 136.5514 | 106073.939 | 16.1157
| 2038 | Low Wind & Battery Cost | 139.828 | 119352.2661 | 16.8037
| 2040 | Low Wind & Battery Cost | 145.448 | 124634.1499 | 17.0609
| 2042 | Low Wind & Battery Cost | 149.1461 | 135277.1284 | 17.7806
| 2044 | Low Wind & Battery Cost | 154.8781 | 148685.9026 | 19.9039
| 2046 | Low Wind & Battery Cost | 165.0687 | 164041.5359 | 20.3303
| 2048 | Low Wind & Battery Cost | 174.6216 | 178937.0354 | 22.337
| 2050 | Low Wind & Battery Cost | 184.6277 | 194535.3319 | 22.2834
| 2020 | Reference Case | 117.0336 | 27860.3085 | 4.2852
| 2022 | Reference Case | 117.4426 | 36858.1157 | 4.485
| 2024 | Reference Case | 119.5803 | 41899.178 | 5.734
| 2026 | Reference Case | 116.3351 | 50359.0785 | 8.281
| 2028 | Reference Case | 111.678 | 57816.1678 | 10.6515
| 2030 | Reference Case | 113.2592 | 72915.9664 | 14.7743
| 2032 | Reference Case | 136.0786 | 78467.0576 | 15.5689
| 2034 | Reference Case | 140.5585 | 85660.1904 | 16.3422
| 2036 | Reference Case | 145.3835 | 103768.8807 | 18.0486
| 2038 | Reference Case | 156.7083 | 125897.8875 | 20.043
| 2040 | Reference Case | 170.4237 | 143127.6292 | 21.3733
| 2042 | Reference Case | 177.8768 | 168698.5822 | 22.8031
| 2044 | Reference Case | 185.1171 | 197307.0194 | 24.4499
| 2046 | Reference Case | 188.4088 | 213201.8357 | 25.8232
| 2048 | Reference Case | 201.4454 | 241132.2037 | 27.9225
| 2050 | Reference Case | 205.7265 | 254807.1191 | 28.8343

## Deployment in Restrictive Scens
Figure 3 | Storage Deployment in Restrictive Scenarios
| Year | Battery Cost Projection | Modelling Restriction | Capacity (GW)
| 2020 | High | No Energy Time-Shifting | 25.1315
| 2022 | High | No Energy Time-Shifting | 27.7229
| 2024 | High | No Energy Time-Shifting | 27.8577
| 2026 | High | No Energy Time-Shifting | 28.9166
| 2028 | High | No Energy Time-Shifting | 29.311
| 2030 | High | No Energy Time-Shifting | 30.1637
| 2032 | High | No Energy Time-Shifting | 31.3138
| 2034 | High | No Energy Time-Shifting | 33.581
| 2036 | High | No Energy Time-Shifting | 34.7238
| 2038 | High | No Energy Time-Shifting | 38.5852
| 2040 | High | No Energy Time-Shifting | 43.6062
| 2042 | High | No Energy Time-Shifting | 48.9348
| 2044 | High | No Energy Time-Shifting | 57.8464
| 2046 | High | No Energy Time-Shifting | 69.5994
| 2048 | High | No Energy Time-Shifting | 75.4546
| 2050 | High | No Energy Time-Shifting | 88.1184
| 2020 | High | No Firm Capacity | 25.4926
| 2022 | High | No Firm Capacity | 28.0828
| 2024 | High | No Firm Capacity | 28.0776
| 2026 | High | No Firm Capacity | 28.0596
| 2028 | High | No Firm Capacity | 27.9381
| 2030 | High | No Firm Capacity | 27.96
| 2032 | High | No Firm Capacity | 27.6319
| 2034 | High | No Firm Capacity | 27.7472
| 2036 | High | No Firm Capacity | 27.4582
| 2038 | High | No Firm Capacity | 26.0959
| 2040 | High | No Firm Capacity | 27.0839
| 2042 | High | No Firm Capacity | 28.0821
| 2044 | High | No Firm Capacity | 28.3769
| 2046 | High | No Firm Capacity | 30.8617
| 2048 | High | No Firm Capacity | 33.1369
| 2050 | High | No Firm Capacity | 40.232
| 2020 | High | No Operating Reserves | 25.4163
| 2022 | High | No Operating Reserves | 28.0065
| 2024 | High | No Operating Reserves | 28.0735
| 2026 | High | No Operating Reserves | 28.2047
| 2028 | High | No Operating Reserves | 28.5307
| 2030 | High | No Operating Reserves | 29.5793
| 2032 | High | No Operating Reserves | 31.2961
| 2034 | High | No Operating Reserves | 33.678
| 2036 | High | No Operating Reserves | 37.0262
| 2038 | High | No Operating Reserves | 45.1126
| 2040 | High | No Operating Reserves | 56.0584
| 2042 | High | No Operating Reserves | 68.7908
| 2044 | High | No Operating Reserves | 87.1642
| 2046 | High | No Operating Reserves | 106.7471
| 2048 | High | No Operating Reserves | 120.533
| 2050 | High | No Operating Reserves | 131.5163
| 2020 | High | None | 25.4991
| 2022 | High | None | 28.0893
| 2024 | High | None | 28.1631
| 2026 | High | None | 28.4852
| 2028 | High | None | 28.9208
| 2030 | High | None | 30.7305
| 2032 | High | None | 33.2956
| 2034 | High | None | 36.7811
| 2036 | High | None | 43.19
| 2038 | High | None | 51.0216
| 2040 | High | None | 59.1511
| 2042 | High | None | 72.6485
| 2044 | High | None | 87.9405
| 2046 | High | None | 108.761
| 2048 | High | None | 122.9489
| 2050 | High | None | 131.6427
| 2020 | Low | No Energy Time-Shifting | 25.4438
| 2022 | Low | No Energy Time-Shifting | 28.0428
| 2024 | Low | No Energy Time-Shifting | 28.9093
| 2026 | Low | No Energy Time-Shifting | 32.6797
| 2028 | Low | No Energy Time-Shifting | 34.9624
| 2030 | Low | No Energy Time-Shifting | 44.0692
| 2032 | Low | No Energy Time-Shifting | 56.0533
| 2034 | Low | No Energy Time-Shifting | 71.6165
| 2036 | Low | No Energy Time-Shifting | 79.7867
| 2038 | Low | No Energy Time-Shifting | 91.3518
| 2040 | Low | No Energy Time-Shifting | 106.9438
| 2042 | Low | No Energy Time-Shifting | 124.2597
| 2044 | Low | No Energy Time-Shifting | 142.9563
| 2046 | Low | No Energy Time-Shifting | 165.3689
| 2048 | Low | No Energy Time-Shifting | 183.3337
| 2050 | Low | No Energy Time-Shifting | 208.5789
| 2020 | Low | No Firm Capacity | 27.1263
| 2022 | Low | No Firm Capacity | 29.7585
| 2024 | Low | No Firm Capacity | 30.117
| 2026 | Low | No Firm Capacity | 30.7156
| 2028 | Low | No Firm Capacity | 32.9942
| 2030 | Low | No Firm Capacity | 36.6822
| 2032 | Low | No Firm Capacity | 37.5594
| 2034 | Low | No Firm Capacity | 41.4696
| 2036 | Low | No Firm Capacity | 43.259
| 2038 | Low | No Firm Capacity | 46.9846
| 2040 | Low | No Firm Capacity | 54.9216
| 2042 | Low | No Firm Capacity | 68.0377
| 2044 | Low | No Firm Capacity | 79.2716
| 2046 | Low | No Firm Capacity | 104.0151
| 2048 | Low | No Firm Capacity | 118.5982
| 2050 | Low | No Firm Capacity | 154.8646
| 2020 | Low | No Operating Reserves | 26.6201
| 2022 | Low | No Operating Reserves | 29.2417
| 2024 | Low | No Operating Reserves | 29.7065
| 2026 | Low | No Operating Reserves | 33.8005
| 2028 | Low | No Operating Reserves | 40.1064
| 2030 | Low | No Operating Reserves | 54.5513
| 2032 | Low | No Operating Reserves | 75.9205
| 2034 | Low | No Operating Reserves | 102.4072
| 2036 | Low | No Operating Reserves | 121.9308
| 2038 | Low | No Operating Reserves | 145.2154
| 2040 | Low | No Operating Reserves | 172.7028
| 2042 | Low | No Operating Reserves | 207.1971
| 2044 | Low | No Operating Reserves | 241.6436
| 2046 | Low | No Operating Reserves | 277.5692
| 2048 | Low | No Operating Reserves | 313.0851
| 2050 | Low | No Operating Reserves | 369.7687
| 2020 | Low | None | 27.2326
| 2022 | Low | None | 29.865
| 2024 | Low | None | 30.8842
| 2026 | Low | None | 37.1514
| 2028 | Low | None | 43.7437
| 2030 | Low | None | 59.8154
| 2032 | Low | None | 80.6719
| 2034 | Low | None | 105.4201
| 2036 | Low | None | 127.6759
| 2038 | Low | None | 150.2709
| 2040 | Low | None | 175.966
| 2042 | Low | None | 210.3658
| 2044 | Low | None | 249.8088
| 2046 | Low | None | 281.3769
| 2048 | Low | None | 321.495
| 2050 | Low | None | 383.7009
| 2020 | Reference | No Energy Time-Shifting | 25.1335
| 2022 | Reference | No Energy Time-Shifting | 27.7281
| 2024 | Reference | No Energy Time-Shifting | 27.9392
| 2026 | Reference | No Energy Time-Shifting | 29.4943
| 2028 | Reference | No Energy Time-Shifting | 30.5179
| 2030 | Reference | No Energy Time-Shifting | 33.9116
| 2032 | Reference | No Energy Time-Shifting | 36.2165
| 2034 | Reference | No Energy Time-Shifting | 42.3642
| 2036 | Reference | No Energy Time-Shifting | 50.5565
| 2038 | Reference | No Energy Time-Shifting | 59.4671
| 2040 | Reference | No Energy Time-Shifting | 70.3554
| 2042 | Reference | No Energy Time-Shifting | 86.0071
| 2044 | Reference | No Energy Time-Shifting | 106.9622
| 2046 | Reference | No Energy Time-Shifting | 125.2157
| 2048 | Reference | No Energy Time-Shifting | 143.7737
| 2050 | Reference | No Energy Time-Shifting | 159.4518
| 2020 | Reference | No Firm Capacity | 25.5546
| 2022 | Reference | No Firm Capacity | 28.1449
| 2024 | Reference | No Firm Capacity | 28.1944
| 2026 | Reference | No Firm Capacity | 28.223
| 2028 | Reference | No Firm Capacity | 29.0853
| 2030 | Reference | No Firm Capacity | 30.194
| 2032 | Reference | No Firm Capacity | 29.866
| 2034 | Reference | No Firm Capacity | 30.0208
| 2036 | Reference | No Firm Capacity | 30.5057
| 2038 | Reference | No Firm Capacity | 30.4893
| 2040 | Reference | No Firm Capacity | 32.4992
| 2042 | Reference | No Firm Capacity | 36.2615
| 2044 | Reference | No Firm Capacity | 36.2243
| 2046 | Reference | No Firm Capacity | 44.9643
| 2048 | Reference | No Firm Capacity | 51.2194
| 2050 | Reference | No Firm Capacity | 63.6766
| 2020 | Reference | No Operating Reserves | 25.4609
| 2022 | Reference | No Operating Reserves | 28.0634
| 2024 | Reference | No Operating Reserves | 28.2134
| 2026 | Reference | No Operating Reserves | 29.553
| 2028 | Reference | No Operating Reserves | 31.7447
| 2030 | Reference | No Operating Reserves | 36.7517
| 2032 | Reference | No Operating Reserves | 50.0789
| 2034 | Reference | No Operating Reserves | 62.8215
| 2036 | Reference | No Operating Reserves | 81.5073
| 2038 | Reference | No Operating Reserves | 100.0112
| 2040 | Reference | No Operating Reserves | 118.1542
| 2042 | Reference | No Operating Reserves | 135.2917
| 2044 | Reference | No Operating Reserves | 155.9135
| 2046 | Reference | No Operating Reserves | 178.1635
| 2048 | Reference | No Operating Reserves | 199.482
| 2050 | Reference | No Operating Reserves | 215.5616
| 2020 | Reference | None | 25.5547
| 2022 | Reference | None | 28.1452
| 2024 | Reference | None | 28.3208
| 2026 | Reference | None | 30.7417
| 2028 | Reference | None | 33.4146
| 2030 | Reference | None | 39.8252
| 2032 | Reference | None | 55.3285
| 2034 | Reference | None | 66.9469
| 2036 | Reference | None | 83.4119
| 2038 | Reference | None | 101.9064
| 2040 | Reference | None | 119.1698
| 2042 | Reference | None | 138.6231
| 2044 | Reference | None | 160.2552
| 2046 | Reference | None | 177.9992
| 2048 | Reference | None | 196.5152
| 2050 | Reference | None | 212.6897

## Peaking Potential vs Deployment
Figure 4 | Peaking Storage Potential (GW) vs Modelled Capacity (GW)
| Storage Duration | Scenario | Peaking Capacity Potential (GW) | Modelled Capacity (GW)
| 2-hour Battery | Reference Case | 8.7213 | 10.5599
| 4-hour Battery | Reference Case | 86.1639 | 80.2956
| 6-hour Battery | Reference Case | 40.1016 | 54.5769
| 8-hour Battery | Reference Case | 29.6006 | 34.8817
| 10-hour Battery | Reference Case | 28.644 | 9.4897
| 12-hour pumped-hydro | Reference Case | 12.4951 | 22.8858
| 2-hour Battery | High Battery Cost | 9.3242 | 13.1278
| 4-hour Battery | High Battery Cost | 68.416 | 86.4549
| 6-hour Battery | High Battery Cost | 50.0545 | 9.1716
| 8-hour Battery | High Battery Cost | 26.4035 | 0
| 10-hour Battery | High Battery Cost | 26.7812 | 0
| 12-hour pumped-hydro | High Battery Cost | 18.6513 | 22.8885
| 2-hour Battery | High PV Cost | 3.5106 | 4.4817
| 4-hour Battery | High PV Cost | 50.7856 | 53.8942
| 6-hour Battery | High PV Cost | 31.6169 | 35.6779
| 8-hour Battery | High PV Cost | 22.5572 | 26.9601
| 10-hour Battery | High PV Cost | 31.9517 | 20.2643
| 12-hour pumped-hydro | High PV Cost | 24.2754 | 22.8858
| 2-hour Battery | Low Wind Cost | 5.2141 | 5.1924
| 4-hour Battery | Low Wind Cost | 50.5288 | 50.585
| 6-hour Battery | Low Wind Cost | 39.1949 | 41.0533
| 8-hour Battery | Low Wind Cost | 32.0359 | 27.2829
| 10-hour Battery | Low Wind Cost | 19.8839 | 25.4218
| 12-hour pumped-hydro | Low Wind Cost | 23.117 | 22.8858
| 2-hour Battery | Low NG Price | 5.7135 | 6.5366
| 4-hour Battery | Low NG Price | 51.7338 | 60.437
| 6-hour Battery | Low NG Price | 31.0528 | 41.2156
| 8-hour Battery | Low NG Price | 33.6015 | 34.0229
| 10-hour Battery | Low NG Price | 32.6801 | 3.1783
| 12-hour pumped-hydro | Low NG Price | 22.7904 | 22.8858
| 2-hour Battery | High PV & Wind Cost | 7.7206 | 6.5083
| 4-hour Battery | High PV & Wind Cost | 55.176 | 61.4148
| 6-hour Battery | High PV & Wind Cost | 36.0436 | 42.0802
| 8-hour Battery | High PV & Wind Cost | 33.2943 | 39.4412
| 10-hour Battery | High PV & Wind Cost | 30.2557 | 9.2705
| 12-hour pumped-hydro | High PV & Wind Cost | 24.7324 | 22.8858
| 2-hour Battery | Low PV & Wind Cost | 8.4228 | 8.7269
| 4-hour Battery | Low PV & Wind Cost | 83.5985 | 79.0582
| 6-hour Battery | Low PV & Wind Cost | 50.5166 | 50.5014
| 8-hour Battery | Low PV & Wind Cost | 35.5652 | 42.0745
| 10-hour Battery | Low PV & Wind Cost | 22.2914 | 20.9659
| 12-hour pumped-hydro | Low PV & Wind Cost | 10.0482 | 22.8858
| 2-hour Battery | High Transmission Cost | 9.123 | 9.887
| 4-hour Battery | High Transmission Cost | 83.9244 | 86.0103
| 6-hour Battery | High Transmission Cost | 44.4892 | 55.4252
| 8-hour Battery | High Transmission Cost | 40.8207 | 44.5001
| 10-hour Battery | High Transmission Cost | 24.1544 | 10.475
| 12-hour pumped-hydro | High Transmission Cost | 8.6069 | 22.8858
| 2-hour Battery | High Wind Cost | 10.8259 | 16.4611
| 4-hour Battery | High Wind Cost | 93.8247 | 100.5306
| 6-hour Battery | High Wind Cost | 54.8306 | 62.6736
| 8-hour Battery | High Wind Cost | 40.3889 | 39.668
| 10-hour Battery | High Wind Cost | 22.9713 | 2.7777
| 12-hour pumped-hydro | High Wind Cost | 9.6954 | 22.8858
| 2-hour Battery | Low PV Cost | 10.2245 | 11.2276
| 4-hour Battery | Low PV Cost | 104.5641 | 109.7208
| 6-hour Battery | Low PV Cost | 61.5525 | 75.7813
| 8-hour Battery | Low PV Cost | 43.8507 | 52.6265
| 10-hour Battery | Low PV Cost | 12.6356 | 6.0108
| 12-hour pumped-hydro | Low PV Cost | 12.0169 | 22.8858
| 2-hour Battery | Low Wind & Battery Cost | 4.8131 | 17.2063
| 4-hour Battery | Low Wind & Battery Cost | 64.4894 | 238.0313
| 6-hour Battery | Low Wind & Battery Cost | 34.2364 | 38.2022
| 8-hour Battery | Low Wind & Battery Cost | 26.0551 | 5.0857
| 10-hour Battery | Low Wind & Battery Cost | 30.4934 | 0.43358
| 12-hour pumped-hydro | Low Wind & Battery Cost | 24.5403 | 22.8858
| 2-hour Battery | Low NG Price & Low Battery Cost | 4.1116 | 18.7212
| 4-hour Battery | Low NG Price & Low Battery Cost | 55.693 | 268.2451
| 6-hour Battery | Low NG Price & Low Battery Cost | 29.9475 | 11.7828
| 8-hour Battery | Low NG Price & Low Battery Cost | 29.1679 | 1.433
| 10-hour Battery | Low NG Price & Low Battery Cost | 41.446 | 0.12654
| 12-hour pumped-hydro | Low NG Price & Low Battery Cost | 22.0767 | 22.8858
| 2-hour Battery | High PV & Wind Cost & Low Battery Cost | 8.9195 | 22.6147
| 4-hour Battery | High PV & Wind Cost & Low Battery Cost | 61.8952 | 273.6705
| 6-hour Battery | High PV & Wind Cost & Low Battery Cost | 39.2253 | 23.0136
| 8-hour Battery | High PV & Wind Cost & Low Battery Cost | 33.7709 | 4.8852
| 10-hour Battery | High PV & Wind Cost & Low Battery Cost | 26.1659 | 0.67796
| 12-hour pumped-hydro | High PV & Wind Cost & Low Battery Cost | 23.5522 | 22.8858
| 2-hour Battery | High NG Price | 8.9193 | 1.8787
| 4-hour Battery | High NG Price | 103.5366 | 119.6885
| 6-hour Battery | High NG Price | 43.0121 | 81.5585
| 8-hour Battery | High NG Price | 51.6334 | 120.4328
| 10-hour Battery | High NG Price | 21.9602 | 23.5083
| 12-hour pumped-hydro | High NG Price | 10.4545 | 22.8858
| 2-hour Battery | High Transmission & Low Battery Cost | 9.6259 | 31.4229
| 4-hour Battery | High Transmission & Low Battery Cost | 93.8664 | 268.1275
| 6-hour Battery | High Transmission & Low Battery Cost | 43.6624 | 44.4194
| 8-hour Battery | High Transmission & Low Battery Cost | 38.1903 | 12.7068
| 10-hour Battery | High Transmission & Low Battery Cost | 25.2527 | 0.47414
| 12-hour pumped-hydro | High Transmission & Low Battery Cost | 8.6425 | 22.8858
| 2-hour Battery | Low Battery Cost | 9.1199 | 23.2877
| 4-hour Battery | Low Battery Cost | 88.2115 | 290.2185
| 6-hour Battery | Low Battery Cost | 46.151 | 34.8821
| 8-hour Battery | Low Battery Cost | 23.4195 | 11.8189
| 10-hour Battery | Low Battery Cost | 25.41 | 0.60785
| 12-hour pumped-hydro | Low Battery Cost | 15.4519 | 22.8858
| 2-hour Battery | Low PV, Wind & Battery Cost | 8.9224 | 53.4949
| 4-hour Battery | Low PV, Wind & Battery Cost | 81.9864 | 296.1465
| 6-hour Battery | Low PV, Wind & Battery Cost | 49.8381 | 46.3256
| 8-hour Battery | Low PV, Wind & Battery Cost | 46.7441 | 10.2761
| 10-hour Battery | Low PV, Wind & Battery Cost | 21.5864 | 0.5578
| 12-hour pumped-hydro | Low PV, Wind & Battery Cost | 13.6059 | 22.8858
| 2-hour Battery | High NG Price & Low Battery Cost | 10.524 | 53.5751
| 4-hour Battery | High NG Price & Low Battery Cost | 105.5734 | 446.2572
| 6-hour Battery | High NG Price & Low Battery Cost | 52.7957 | 91.3134
| 8-hour Battery | High NG Price & Low Battery Cost | 39.4825 | 59.7753
| 10-hour Battery | High NG Price & Low Battery Cost | 21.9656 | 4.8648
| 12-hour pumped-hydro | High NG Price & Low Battery Cost | 13.4305 | 22.8858

## Battery, Transmission, Wind, PV
Figure 5 | Capacity of Battery (GW), Transmission (GW-mi), PV (GW), and Wind (GW)
| Year | Scenario | Battery Capacity (GW) | Transmission Capacity (GW-mi) | PV Capacity (GW) | Wind Capacity (GW)
| 2020 | High Battery Cost Case | 25.4991 | 142815895.1 | 83.0819 | 121.4776
| 2022 | High Battery Cost Case | 28.0893 | 143608698.3 | 89.8387 | 128.9872
| 2024 | High Battery Cost Case | 28.1631 | 145236680.2 | 112.5511 | 136.3401
| 2026 | High Battery Cost Case | 28.4852 | 147220039.3 | 158.2434 | 141.5327
| 2028 | High Battery Cost Case | 28.9208 | 149770046.4 | 204.1963 | 146.5582
| 2030 | High Battery Cost Case | 30.7305 | 153897453.9 | 279.7886 | 152.2747
| 2032 | High Battery Cost Case | 33.2956 | 155161314.1 | 298.3236 | 154.5502
| 2034 | High Battery Cost Case | 36.7811 | 155849709.1 | 312.7241 | 165.8103
| 2036 | High Battery Cost Case | 43.19 | 156780916.7 | 345.0441 | 174.0578
| 2038 | High Battery Cost Case | 51.0216 | 157804880.5 | 372.4652 | 183.6975
| 2040 | High Battery Cost Case | 59.1511 | 158999167.2 | 409.0735 | 181.4391
| 2042 | High Battery Cost Case | 72.6485 | 160264328.7 | 439.8731 | 192.8042
| 2044 | High Battery Cost Case | 87.9405 | 162724329.8 | 497.1265 | 210.9736
| 2046 | High Battery Cost Case | 108.761 | 165274684.7 | 540.3773 | 233.8944
| 2048 | High Battery Cost Case | 122.9489 | 168238593.9 | 592.3874 | 246.1542
| 2050 | High Battery Cost Case | 131.6427 | 172242472.1 | 624.9978 | 271.9218
| 2020 | High Transmission Cost Case | 26.4382 | 142780319.4 | 82.7934 | 122.0167
| 2022 | High Transmission Cost Case | 29.0277 | 143146233.7 | 89.5868 | 128.2036
| 2024 | High Transmission Cost Case | 29.5228 | 143524291.5 | 100.3557 | 135.1239
| 2026 | High Transmission Cost Case | 33.1321 | 143888006.3 | 157.0342 | 139.5164
| 2028 | High Transmission Cost Case | 37.4841 | 144446033.1 | 220.8135 | 144.4376
| 2030 | High Transmission Cost Case | 45.4228 | 144754779.5 | 300.2291 | 148.9583
| 2032 | High Transmission Cost Case | 59.9436 | 144853307.5 | 324.9913 | 151.5409
| 2034 | High Transmission Cost Case | 75.6773 | 144962354.2 | 349.3752 | 162.3369
| 2036 | High Transmission Cost Case | 87.1233 | 145010078.8 | 377.7526 | 169.7966
| 2038 | High Transmission Cost Case | 103.403 | 145120854.1 | 412.3848 | 174.4539
| 2040 | High Transmission Cost Case | 120.3522 | 145201809.6 | 464.7814 | 174.6947
| 2042 | High Transmission Cost Case | 141.3046 | 145496744.1 | 499.4027 | 173.7716
| 2044 | High Transmission Cost Case | 160.1987 | 145693203.5 | 555.5309 | 192.983
| 2046 | High Transmission Cost Case | 185.615 | 146160385.3 | 608.8641 | 221.1706
| 2048 | High Transmission Cost Case | 209.0113 | 146944020.8 | 660.9362 | 229.6576
| 2050 | High Transmission Cost Case | 229.1833 | 147697007.5 | 717.1417 | 250.0509
| 2020 | Low Battery Cost Case | 27.2326 | 142802101.9 | 82.9183 | 121.4779
| 2022 | Low Battery Cost Case | 29.865 | 143565152.9 | 89.6007 | 128.6718
| 2024 | Low Battery Cost Case | 30.8842 | 145077234.3 | 113.0628 | 136.7656
| 2026 | Low Battery Cost Case | 37.1514 | 146666307.7 | 164.1877 | 141.9694
| 2028 | Low Battery Cost Case | 43.7437 | 148341871.9 | 218.2153 | 146.5937
| 2030 | Low Battery Cost Case | 59.8154 | 150969365.3 | 286.707 | 152.0774
| 2032 | Low Battery Cost Case | 80.6719 | 151642892.2 | 314.8488 | 158.2417
| 2034 | Low Battery Cost Case | 105.4201 | 152011090.5 | 364.6715 | 164.6094
| 2036 | Low Battery Cost Case | 127.6759 | 152284758.7 | 411.3693 | 167.339
| 2038 | Low Battery Cost Case | 150.2709 | 152668936.8 | 446.1702 | 176.1687
| 2040 | Low Battery Cost Case | 175.966 | 153140706.6 | 475.1204 | 184.0244
| 2042 | Low Battery Cost Case | 210.3658 | 154181144.4 | 516.8277 | 197.5614
| 2044 | Low Battery Cost Case | 249.8088 | 155239460 | 574.5821 | 210.4409
| 2046 | Low Battery Cost Case | 281.3769 | 157292442.1 | 627.4644 | 233.9428
| 2048 | Low Battery Cost Case | 321.495 | 160482025 | 688.0711 | 240.5195
| 2050 | Low Battery Cost Case | 383.7009 | 163332620.4 | 737.0271 | 269.2142
| 2020 | Low PV Cost Case | 25.4343 | 142801566.4 | 84.1846 | 121.4726
| 2022 | Low PV Cost Case | 28.0236 | 143595961.9 | 92.6174 | 128.7797
| 2024 | Low PV Cost Case | 28.6457 | 145869208.5 | 147.3522 | 135.1606
| 2026 | Low PV Cost Case | 31.6408 | 148445124.1 | 219.731 | 138.9595
| 2028 | Low PV Cost Case | 40.7009 | 151998665.5 | 310.553 | 141.9773
| 2030 | Low PV Cost Case | 59.7474 | 155499272.8 | 418.6116 | 146.2654
| 2032 | Low PV Cost Case | 77.0848 | 157235264 | 476.6324 | 146.3938
| 2034 | Low PV Cost Case | 98.2214 | 157914558.6 | 523.6173 | 151.6567
| 2036 | Low PV Cost Case | 121.5617 | 158743263.6 | 585.2502 | 152.9648
| 2038 | Low PV Cost Case | 145.7322 | 159735215.7 | 650.1523 | 145.4303
| 2040 | Low PV Cost Case | 167.7343 | 160193143.8 | 698.0734 | 145.844
| 2042 | Low PV Cost Case | 195.4814 | 160601043.6 | 768.6519 | 143.4386
| 2044 | Low PV Cost Case | 221.1863 | 161127200.5 | 818.3319 | 158.6578
| 2046 | Low PV Cost Case | 243.2421 | 162013297.9 | 880.6574 | 177.2844
| 2048 | Low PV Cost Case | 261.0247 | 162947056.4 | 936.5969 | 188.3066
| 2050 | Low PV Cost Case | 278.2529 | 164420434.1 | 982.4188 | 193.7677
| 2020 | Low Wind Cost Case | 25.5534 | 142816677.8 | 83.0726 | 122.0553
| 2022 | Low Wind Cost Case | 28.1428 | 143834620.3 | 89.8294 | 130.7734
| 2024 | Low Wind Cost Case | 28.5084 | 146137362.7 | 108.0985 | 162.0094
| 2026 | Low Wind Cost Case | 29.3327 | 148673059.2 | 152.5186 | 167.9947
| 2028 | Low Wind Cost Case | 32.9797 | 151184802.9 | 201.7392 | 178.3004
| 2030 | Low Wind Cost Case | 38.1701 | 156603101.1 | 249.2838 | 228.1916
| 2032 | Low Wind Cost Case | 45.675 | 160027520.1 | 276.6703 | 248.7522
| 2034 | Low Wind Cost Case | 55.8565 | 163477734.8 | 299.7294 | 279.713
| 2036 | Low Wind Cost Case | 67.4702 | 166800622.6 | 315.5517 | 311.1861
| 2038 | Low Wind Cost Case | 78.7285 | 170516820.7 | 341.6526 | 340.2199
| 2040 | Low Wind Cost Case | 93.8307 | 173873067.9 | 373.2771 | 351.7304
| 2042 | Low Wind Cost Case | 110.4945 | 177654872.1 | 392.7398 | 380.221
| 2044 | Low Wind Cost Case | 125.6161 | 182253589.3 | 421.3595 | 421.8716
| 2046 | Low Wind Cost Case | 150.6507 | 187948711.8 | 460.4439 | 477.2738
| 2048 | Low Wind Cost Case | 162.5439 | 192183545.8 | 497.6573 | 505.3629
| 2050 | Low Wind Cost Case | 172.4212 | 197589717.6 | 557.5974 | 539.9615
| 2020 | Reference Case | 25.5547 | 142815895 | 83.0819 | 121.4776
| 2022 | Reference Case | 28.1452 | 143610233.5 | 89.8387 | 128.9859
| 2024 | Reference Case | 28.3208 | 145239199.7 | 112.8626 | 136.2252
| 2026 | Reference Case | 30.7417 | 147168722.5 | 160.4739 | 141.7017
| 2028 | Reference Case | 33.4146 | 149444838.4 | 206.5569 | 146.9902
| 2030 | Reference Case | 39.8252 | 152036273.4 | 289.1203 | 152.2619
| 2032 | Reference Case | 55.3285 | 152648722.2 | 310.836 | 158.8659
| 2034 | Reference Case | 66.9469 | 153031600.3 | 333.5483 | 164.5901
| 2036 | Reference Case | 83.4119 | 153311626.3 | 376.7379 | 174.1993
| 2038 | Reference Case | 101.9064 | 154027469.7 | 425.9951 | 179.3784
| 2040 | Reference Case | 119.1698 | 154749113.6 | 464.508 | 182.893
| 2042 | Reference Case | 138.6231 | 155810458.4 | 507.402 | 192.2645
| 2044 | Reference Case | 160.2552 | 157200169.7 | 556.177 | 210.6949
| 2046 | Reference Case | 177.9992 | 159498587.3 | 599.7118 | 232.0916
| 2048 | Reference Case | 196.5152 | 162470707.4 | 662.5225 | 241.3531
| 2050 | Reference Case | 212.6897 | 165586448.7 | 697.9278 | 269.9049

## Storage use vs wind,PV pen.
Figure 6 | % of annual generation used to charge storage vs Wind and PV penetration (% annual)
| year | Scenario | Wind Penetration (% annual) | PV penetration (% annual) | % of annual generation used to charge storage
| 2020 | High NG Price | 9.0983 | 4.2974 | 0.47994
| 2022 | High NG Price | 9.8685 | 4.5117 | 0.23996
| 2024 | High NG Price | 10.9711 | 6.6977 | 0.52633
| 2026 | High NG Price | 11.4222 | 10.8962 | 0.86475
| 2028 | High NG Price | 13.2746 | 14.1408 | 1.1269
| 2030 | High NG Price | 14.7004 | 18.5859 | 1.9155
| 2032 | High NG Price | 16.2749 | 20.7415 | 2.4105
| 2034 | High NG Price | 18.0047 | 22.9982 | 3.4297
| 2036 | High NG Price | 18.6498 | 25.4649 | 4.4774
| 2038 | High NG Price | 19.8784 | 27.1258 | 5.6206
| 2040 | High NG Price | 20.4153 | 29.166 | 6.7597
| 2042 | High NG Price | 21.8474 | 30.9522 | 8.225
| 2044 | High NG Price | 23.8583 | 33.4669 | 9.895
| 2046 | High NG Price | 25.7801 | 36.1212 | 11.7811
| 2048 | High NG Price | 27.7139 | 38.8616 | 13.7303
| 2050 | High NG Price | 28.9313 | 41.3534 | 15.8563
| 2020 | High NG Price & Low Battery Cost | 9.2014 | 4.3011 | 0.63144
| 2022 | High NG Price & Low Battery Cost | 9.8399 | 4.5042 | 0.27826
| 2024 | High NG Price & Low Battery Cost | 10.9133 | 6.8458 | 0.59309
| 2026 | High NG Price & Low Battery Cost | 11.5866 | 10.6381 | 1.0732
| 2028 | High NG Price & Low Battery Cost | 13.6269 | 14.3964 | 1.4605
| 2030 | High NG Price & Low Battery Cost | 14.6491 | 19.2869 | 2.4766
| 2032 | High NG Price & Low Battery Cost | 15.5543 | 21.7916 | 3.2831
| 2034 | High NG Price & Low Battery Cost | 16.845 | 24.0543 | 4.2562
| 2036 | High NG Price & Low Battery Cost | 17.7315 | 26.5824 | 5.5053
| 2038 | High NG Price & Low Battery Cost | 19.0761 | 28.7094 | 6.8146
| 2040 | High NG Price & Low Battery Cost | 19.5791 | 31.0522 | 8.3577
| 2042 | High NG Price & Low Battery Cost | 20.7373 | 33.2615 | 9.9457
| 2044 | High NG Price & Low Battery Cost | 23.2007 | 36.2361 | 12.3025
| 2046 | High NG Price & Low Battery Cost | 24.6784 | 39.6362 | 14.682
| 2048 | High NG Price & Low Battery Cost | 26.0382 | 43.1146 | 17.0107
| 2050 | High NG Price & Low Battery Cost | 27.6563 | 46.0175 | 19.4131
| 2020 | High PV Cost | 9.0992 | 4.2552 | 0.46386
| 2022 | High PV Cost | 9.8272 | 4.4222 | 0.28551
| 2024 | High PV Cost | 10.4097 | 4.6508 | 0.35679
| 2026 | High PV Cost | 10.9292 | 6.385 | 0.58225
| 2028 | High PV Cost | 11.4946 | 7.3873 | 0.62229
| 2030 | High PV Cost | 11.9909 | 9.1514 | 0.90812
| 2032 | High PV Cost | 12.3245 | 9.96 | 0.94223
| 2034 | High PV Cost | 12.8918 | 10.961 | 1.0843
| 2036 | High PV Cost | 13.9425 | 11.5104 | 1.2497
| 2038 | High PV Cost | 15.3951 | 11.9235 | 1.5376
| 2040 | High PV Cost | 16.4045 | 12.5116 | 1.8307
| 2042 | High PV Cost | 17.5402 | 13.6593 | 2.2507
| 2044 | High PV Cost | 19.2962 | 15.0665 | 2.6149
| 2046 | High PV Cost | 20.0254 | 16.2865 | 3.0571
| 2048 | High PV Cost | 21.6726 | 17.9909 | 3.8336
| 2050 | High PV Cost | 23.6368 | 19.6646 | 4.3069
| 2020 | High PV & Wind Cost | 9.075 | 4.2555 | 0.46231
| 2022 | High PV & Wind Cost | 9.7424 | 4.4224 | 0.28191
| 2024 | High PV & Wind Cost | 10.2564 | 4.6502 | 0.34657
| 2026 | High PV & Wind Cost | 10.5927 | 6.5472 | 0.55806
| 2028 | High PV & Wind Cost | 11.0314 | 7.7055 | 0.58206
| 2030 | High PV & Wind Cost | 11.3369 | 9.4789 | 0.86133
| 2032 | High PV & Wind Cost | 11.2399 | 10.256 | 0.82904
| 2034 | High PV & Wind Cost | 11.4829 | 11.4311 | 1.1741
| 2036 | High PV & Wind Cost | 11.1943 | 12.2537 | 1.2305
| 2038 | High PV & Wind Cost | 10.9107 | 12.8912 | 1.553
| 2040 | High PV & Wind Cost | 10.3575 | 14.2916 | 1.9541
| 2042 | High PV & Wind Cost | 10.1823 | 16.0295 | 2.5856
| 2044 | High PV & Wind Cost | 10.5147 | 17.477 | 3.0157
| 2046 | High PV & Wind Cost | 12.3271 | 19.0155 | 3.738
| 2048 | High PV & Wind Cost | 12.9093 | 21.852 | 4.4612
| 2050 | High PV & Wind Cost | 13.5759 | 23.5399 | 5.1205
| 2020 | High PV & Wind Cost & Low Battery Cost | 9.178 | 4.2594 | 0.61893
| 2022 | High PV & Wind Cost & Low Battery Cost | 9.7657 | 4.4123 | 0.31916
| 2024 | High PV & Wind Cost & Low Battery Cost | 10.284 | 4.6179 | 0.38541
| 2026 | High PV & Wind Cost & Low Battery Cost | 10.6415 | 6.4588 | 0.69669
| 2028 | High PV & Wind Cost & Low Battery Cost | 10.9807 | 7.4942 | 0.74928
| 2030 | High PV & Wind Cost & Low Battery Cost | 11.3552 | 9.2887 | 1.179
| 2032 | High PV & Wind Cost & Low Battery Cost | 11.1909 | 10.5947 | 1.2199
| 2034 | High PV & Wind Cost & Low Battery Cost | 11.4518 | 11.7214 | 1.5222
| 2036 | High PV & Wind Cost & Low Battery Cost | 11.2551 | 12.7198 | 1.7955
| 2038 | High PV & Wind Cost & Low Battery Cost | 11.0005 | 13.5333 | 2.2029
| 2040 | High PV & Wind Cost & Low Battery Cost | 10.7406 | 14.7146 | 2.7045
| 2042 | High PV & Wind Cost & Low Battery Cost | 10.5345 | 16.5201 | 3.4943
| 2044 | High PV & Wind Cost & Low Battery Cost | 10.9705 | 17.7183 | 4.0165
| 2046 | High PV & Wind Cost & Low Battery Cost | 12.1288 | 19.3398 | 4.5995
| 2048 | High PV & Wind Cost & Low Battery Cost | 12.3898 | 22.858 | 5.4232
| 2050 | High PV & Wind Cost & Low Battery Cost | 13.4262 | 24.3587 | 6.4806
| 2020 | High Battery Cost | 9.0952 | 4.2852 | 0.4633
| 2022 | High Battery Cost | 9.8543 | 4.4849 | 0.27759
| 2024 | High Battery Cost | 10.4022 | 5.7183 | 0.36045
| 2026 | High Battery Cost | 10.7096 | 8.1312 | 0.62968
| 2028 | High Battery Cost | 11.0395 | 10.5112 | 0.63768
| 2030 | High Battery Cost | 11.3075 | 14.2325 | 0.89125
| 2032 | High Battery Cost | 11.4332 | 14.8442 | 0.77707
| 2034 | High Battery Cost | 12.2921 | 15.1377 | 0.93337
| 2036 | High Battery Cost | 12.9138 | 16.3063 | 1.0815
| 2038 | High Battery Cost | 13.9947 | 17.1975 | 1.3061
| 2040 | High Battery Cost | 13.9112 | 18.471 | 1.4921
| 2042 | High Battery Cost | 15.1892 | 19.3387 | 1.9492
| 2044 | High Battery Cost | 16.3533 | 21.5615 | 2.2504
| 2046 | High Battery Cost | 18.0669 | 23.0413 | 2.7932
| 2048 | High Battery Cost | 18.7806 | 24.7523 | 3.3307
| 2050 | High Battery Cost | 20.5036 | 25.6896 | 3.6121
| 2020 | High Transmission Cost | 9.199 | 4.2603 | 0.59309
| 2022 | High Transmission Cost | 9.7022 | 4.4486 | 0.30659
| 2024 | High Transmission Cost | 10.2483 | 4.9235 | 0.46893
| 2026 | High Transmission Cost | 10.5141 | 7.8823 | 0.80631
| 2028 | High Transmission Cost | 10.8311 | 11.2681 | 1.0275
| 2030 | High Transmission Cost | 11.0202 | 15.2367 | 1.4943
| 2032 | High Transmission Cost | 11.1989 | 16.1912 | 1.6587
| 2034 | High Transmission Cost | 12.0355 | 16.9897 | 2.12
| 2036 | High Transmission Cost | 12.5494 | 17.9877 | 2.6309
| 2038 | High Transmission Cost | 13.1274 | 19.2148 | 3.2809
| 2040 | High Transmission Cost | 13.2493 | 21.2731 | 4.0373
| 2042 | High Transmission Cost | 13.5597 | 22.3209 | 4.6051
| 2044 | High Transmission Cost | 14.8571 | 24.3872 | 5.4362
| 2046 | High Transmission Cost | 16.9954 | 26.1739 | 6.2204
| 2048 | High Transmission Cost | 17.4093 | 27.7514 | 6.9501
| 2050 | High Transmission Cost | 18.686 | 29.4782 | 7.8384
| 2020 | High Transmission & Low Battery Cost | 9.3042 | 4.264 | 0.73263
| 2022 | High Transmission & Low Battery Cost | 9.7115 | 4.4474 | 0.34672
| 2024 | High Transmission & Low Battery Cost | 10.2886 | 5.0393 | 0.55898
| 2026 | High Transmission & Low Battery Cost | 10.5521 | 7.9754 | 0.95486
| 2028 | High Transmission & Low Battery Cost | 10.8651 | 11.6528 | 1.2603
| 2030 | High Transmission & Low Battery Cost | 11.0373 | 15.6743 | 2.0433
| 2032 | High Transmission & Low Battery Cost | 11.3875 | 17.3907 | 2.5428
| 2034 | High Transmission & Low Battery Cost | 11.9086 | 17.8837 | 3.0042
| 2036 | High Transmission & Low Battery Cost | 12.1797 | 20.066 | 3.8235
| 2038 | High Transmission & Low Battery Cost | 13.0874 | 21.1579 | 4.5314
| 2040 | High Transmission & Low Battery Cost | 13.1928 | 22.7549 | 5.2913
| 2042 | High Transmission & Low Battery Cost | 14.5223 | 23.5941 | 5.8479
| 2044 | High Transmission & Low Battery Cost | 14.593 | 26.5052 | 6.6728
| 2046 | High Transmission & Low Battery Cost | 17.1503 | 27.3017 | 7.4052
| 2048 | High Transmission & Low Battery Cost | 17.1821 | 29.3569 | 8.1848
| 2050 | High Transmission & Low Battery Cost | 19.5865 | 30.933 | 9.4193
| 2020 | High Wind Cost | 9.0787 | 4.2855 | 0.46763
| 2022 | High Wind Cost | 9.7636 | 4.4869 | 0.27725
| 2024 | High Wind Cost | 10.2075 | 5.7819 | 0.36428
| 2026 | High Wind Cost | 10.4652 | 8.4276 | 0.68263
| 2028 | High Wind Cost | 10.6096 | 10.8726 | 0.80313
| 2030 | High Wind Cost | 10.7795 | 14.8413 | 1.2202
| 2032 | High Wind Cost | 10.638 | 15.57 | 1.2886
| 2034 | High Wind Cost | 10.6642 | 16.6868 | 1.7343
| 2036 | High Wind Cost | 10.3033 | 19.0481 | 2.5428
| 2038 | High Wind Cost | 9.3903 | 22.0199 | 3.5207
| 2040 | High Wind Cost | 8.6083 | 23.7796 | 4.3035
| 2042 | High Wind Cost | 8.3938 | 25.3095 | 5.179
| 2044 | High Wind Cost | 8.6059 | 28.223 | 6.1573
| 2046 | High Wind Cost | 9.6587 | 30.2268 | 7.0274
| 2048 | High Wind Cost | 10.1196 | 32.6474 | 7.7215
| 2050 | High Wind Cost | 10.167 | 34.1458 | 8.2943
| 2020 | Low NG Price | 9.0964 | 4.2801 | 0.46709
| 2022 | Low NG Price | 9.8398 | 4.4701 | 0.34827
| 2024 | Low NG Price | 10.3912 | 4.9909 | 0.3789
| 2026 | Low NG Price | 10.6634 | 6.8111 | 0.56733
| 2028 | Low NG Price | 10.9684 | 8.6151 | 0.64669
| 2030 | Low NG Price | 11.1975 | 11.8343 | 1.1874
| 2032 | Low NG Price | 11.0721 | 13.0768 | 1.015
| 2034 | Low NG Price | 11.3609 | 13.3606 | 1.1377
| 2036 | Low NG Price | 11.1195 | 14.3041 | 1.4756
| 2038 | Low NG Price | 10.7901 | 14.8387 | 1.8597
| 2040 | Low NG Price | 10.3121 | 15.3563 | 2.2609
| 2042 | Low NG Price | 10.4647 | 16.1052 | 2.678
| 2044 | Low NG Price | 10.5171 | 17.9812 | 3.3053
| 2046 | Low NG Price | 10.8054 | 19.4552 | 3.9279
| 2048 | Low NG Price | 12.5479 | 20.1107 | 4.3872
| 2050 | Low NG Price | 13.8715 | 21.5252 | 4.7561
| 2020 | Low NG Price & Low Battery Cost | 9.2049 | 4.2836 | 0.62584
| 2022 | Low NG Price & Low Battery Cost | 9.7934 | 4.4647 | 0.37935
| 2024 | Low NG Price & Low Battery Cost | 10.3619 | 4.9582 | 0.42422
| 2026 | Low NG Price & Low Battery Cost | 10.6462 | 6.8695 | 0.69413
| 2028 | Low NG Price & Low Battery Cost | 10.917 | 9.2201 | 0.87943
| 2030 | Low NG Price & Low Battery Cost | 11.1263 | 12.5317 | 1.5346
| 2032 | Low NG Price & Low Battery Cost | 10.9797 | 13.7333 | 1.6015
| 2034 | Low NG Price & Low Battery Cost | 11.1282 | 14.1608 | 1.8653
| 2036 | Low NG Price & Low Battery Cost | 10.8558 | 15.3135 | 2.3537
| 2038 | Low NG Price & Low Battery Cost | 10.7001 | 15.9527 | 2.7277
| 2040 | Low NG Price & Low Battery Cost | 10.3 | 16.9619 | 3.2685
| 2042 | Low NG Price & Low Battery Cost | 10.3676 | 18.03 | 3.9893
| 2044 | Low NG Price & Low Battery Cost | 10.7622 | 19.6503 | 4.7225
| 2046 | Low NG Price & Low Battery Cost | 11.3419 | 19.9236 | 4.9272
| 2048 | Low NG Price & Low Battery Cost | 11.8372 | 21.5975 | 5.4
| 2050 | Low NG Price & Low Battery Cost | 13.1045 | 22.3752 | 5.7806
| 2020 | Low PV Cost | 9.098 | 4.3415 | 0.45606
| 2022 | Low PV Cost | 9.8328 | 4.6111 | 0.27736
| 2024 | Low PV Cost | 10.2641 | 7.7273 | 0.52033
| 2026 | Low PV Cost | 10.4547 | 11.6127 | 0.8583
| 2028 | Low PV Cost | 10.5634 | 16.6491 | 1.3097
| 2030 | Low PV Cost | 10.74 | 22.288 | 2.2464
| 2032 | Low PV Cost | 10.6078 | 25.0741 | 2.6664
| 2034 | Low PV Cost | 10.9074 | 26.8616 | 3.5365
| 2036 | Low PV Cost | 10.9309 | 29.3205 | 4.6241
| 2038 | Low PV Cost | 10.4601 | 31.7824 | 5.7885
| 2040 | Low PV Cost | 10.6729 | 33.1735 | 6.8654
| 2042 | Low PV Cost | 10.8357 | 35.6635 | 8.3526
| 2044 | Low PV Cost | 11.94 | 37.0795 | 9.3719
| 2046 | Low PV Cost | 13.4029 | 38.9904 | 10.2895
| 2048 | Low PV Cost | 14.1206 | 40.4191 | 10.7966
| 2050 | Low PV Cost | 14.4608 | 41.663 | 11.1553
| 2020 | Low PV & Battery Cost | 9.1955 | 4.3451 | 0.60474
| 2022 | Low PV & Battery Cost | 9.8467 | 4.605 | 0.30807
| 2024 | Low PV & Battery Cost | 10.3013 | 7.7301 | 0.60963
| 2026 | Low PV & Battery Cost | 10.4993 | 11.7732 | 1.0286
| 2028 | Low PV & Battery Cost | 10.6186 | 16.8118 | 1.5581
| 2030 | Low PV & Battery Cost | 10.7712 | 23.3094 | 3.2217
| 2032 | Low PV & Battery Cost | 10.5855 | 26.2603 | 3.9707
| 2034 | Low PV & Battery Cost | 10.5803 | 28.7106 | 5.0682
| 2036 | Low PV & Battery Cost | 10.2335 | 31.4898 | 6.4053
| 2038 | Low PV & Battery Cost | 9.9263 | 33.7054 | 7.7993
| 2040 | Low PV & Battery Cost | 10.3429 | 35.2505 | 8.9267
| 2042 | Low PV & Battery Cost | 10.7642 | 37.2835 | 10.4177
| 2044 | Low PV & Battery Cost | 11.6337 | 39.012 | 11.6079
| 2046 | Low PV & Battery Cost | 13.5323 | 41.0472 | 12.6088
| 2048 | Low PV & Battery Cost | 13.0299 | 43.6986 | 13.7005
| 2050 | Low PV & Battery Cost | 13.5179 | 45.5699 | 14.6662
| 2020 | Low PV & Wind Cost | 9.1678 | 4.3409 | 0.46451
| 2022 | Low PV & Wind Cost | 10.018 | 4.6087 | 0.25659
| 2024 | Low PV & Wind Cost | 12.46 | 7.3514 | 0.62003
| 2026 | Low PV & Wind Cost | 12.7073 | 10.6723 | 0.773
| 2028 | Low PV & Wind Cost | 13.4998 | 15.228 | 1.0662
| 2030 | Low PV & Wind Cost | 17.8977 | 18.9371 | 1.9934
| 2032 | Low PV & Wind Cost | 18.641 | 21.8475 | 1.8568
| 2034 | Low PV & Wind Cost | 20.8806 | 22.8524 | 2.6341
| 2036 | Low PV & Wind Cost | 21.4314 | 24.8041 | 3.3861
| 2038 | Low PV & Wind Cost | 22.3205 | 26.0629 | 4.4995
| 2040 | Low PV & Wind Cost | 23.4812 | 27.3466 | 5.3138
| 2042 | Low PV & Wind Cost | 24.2868 | 29.1053 | 6.244
| 2044 | Low PV & Wind Cost | 27.1406 | 29.8761 | 6.9062
| 2046 | Low PV & Wind Cost | 29.0428 | 30.7474 | 7.4687
| 2048 | Low PV & Wind Cost | 30.3443 | 32.2729 | 7.5432
| 2050 | Low PV & Wind Cost | 32.5254 | 32.7149 | 8.3268
| 2020 | Low PV, Wind & Battery Cost | 9.2654 | 4.3445 | 0.61288
| 2022 | Low PV, Wind & Battery Cost | 10.0628 | 4.6025 | 0.28968
| 2024 | Low PV, Wind & Battery Cost | 12.8944 | 7.3525 | 0.75889
| 2026 | Low PV, Wind & Battery Cost | 13.0744 | 10.7709 | 0.92215
| 2028 | Low PV, Wind & Battery Cost | 13.5517 | 15.6472 | 1.4465
| 2030 | Low PV, Wind & Battery Cost | 18.1894 | 20.1314 | 2.9712
| 2032 | Low PV, Wind & Battery Cost | 19.5926 | 23.1262 | 3.1482
| 2034 | Low PV, Wind & Battery Cost | 20.3782 | 24.6634 | 3.9969
| 2036 | Low PV, Wind & Battery Cost | 21.5504 | 26.3432 | 5.0005
| 2038 | Low PV, Wind & Battery Cost | 23.2126 | 27.3093 | 5.8834
| 2040 | Low PV, Wind & Battery Cost | 24.4422 | 28.8861 | 6.7474
| 2042 | Low PV, Wind & Battery Cost | 25.3269 | 30.2015 | 7.6119
| 2044 | Low PV, Wind & Battery Cost | 27.2703 | 31.1284 | 8.0739
| 2046 | Low PV, Wind & Battery Cost | 28.897 | 31.786 | 8.4494
| 2048 | Low PV, Wind & Battery Cost | 30.476 | 33.4987 | 9.3784
| 2050 | Low PV, Wind & Battery Cost | 31.8771 | 34.6432 | 10.5889
| 2020 | Low Battery Cost | 9.2009 | 4.2861 | 0.62145
| 2022 | Low Battery Cost | 9.8288 | 4.4755 | 0.31257
| 2024 | Low Battery Cost | 10.4598 | 5.7414 | 0.43632
| 2026 | Low Battery Cost | 10.7983 | 8.4779 | 0.88216
| 2028 | Low Battery Cost | 11.0849 | 11.3602 | 1.043
| 2030 | Low Battery Cost | 11.349 | 14.7332 | 1.6128
| 2032 | Low Battery Cost | 11.8424 | 15.825 | 2.0114
| 2034 | Low Battery Cost | 12.2191 | 18.0774 | 2.8312
| 2036 | Low Battery Cost | 12.368 | 19.9806 | 3.4535
| 2038 | Low Battery Cost | 13.3774 | 21.1558 | 4.0758
| 2040 | Low Battery Cost | 14.2458 | 21.8445 | 4.622
| 2042 | Low Battery Cost | 15.7078 | 23.2222 | 5.2401
| 2044 | Low Battery Cost | 16.4442 | 25.3263 | 6.0268
| 2046 | Low Battery Cost | 18.0697 | 27.1559 | 6.7434
| 2048 | Low Battery Cost | 18.2473 | 29.0591 | 7.2405
| 2050 | Low Battery Cost | 20.187 | 30.5566 | 8.3625
| 2020 | Low Wind Cost | 9.1697 | 4.2847 | 0.47646
| 2022 | Low Wind Cost | 10.0782 | 4.4838 | 0.261
| 2024 | Low Wind Cost | 12.8953 | 5.4422 | 0.55179
| 2026 | Low Wind Cost | 13.2542 | 7.8053 | 0.629
| 2028 | Low Wind Cost | 14.0434 | 10.2984 | 0.87647
| 2030 | Low Wind Cost | 18.3379 | 12.5826 | 1.2385
| 2032 | Low Wind Cost | 19.898 | 13.6201 | 1.0566
| 2034 | Low Wind Cost | 22.2432 | 14.367 | 1.4377
| 2036 | Low Wind Cost | 24.6266 | 14.7362 | 1.7509
| 2038 | Low Wind Cost | 27.0451 | 15.4794 | 2.226
| 2040 | Low Wind Cost | 27.8632 | 16.5963 | 2.5899
| 2042 | Low Wind Cost | 30.024 | 17.0266 | 3.2361
| 2044 | Low Wind Cost | 32.5667 | 17.851 | 3.4705
| 2046 | Low Wind Cost | 36.0781 | 19.3097 | 4.3383
| 2048 | Low Wind Cost | 37.4469 | 20.4474 | 4.2207
| 2050 | Low Wind Cost | 38.8375 | 22.5682 | 4.9414
| 2020 | Low Wind & Battery Cost | 9.2663 | 4.2856 | 0.63134
| 2022 | Low Wind & Battery Cost | 10.2646 | 4.4742 | 0.29786
| 2024 | Low Wind & Battery Cost | 13.2164 | 5.2936 | 0.67431
| 2026 | Low Wind & Battery Cost | 13.5415 | 7.9681 | 0.8238
| 2028 | Low Wind & Battery Cost | 14.4592 | 10.804 | 1.1538
| 2030 | Low Wind & Battery Cost | 19.5537 | 12.4869 | 1.8298
| 2032 | Low Wind & Battery Cost | 21.1312 | 14.2003 | 1.7764
| 2034 | Low Wind & Battery Cost | 23.3312 | 15.2465 | 2.0821
| 2036 | Low Wind & Battery Cost | 24.6567 | 16.1157 | 2.4873
| 2038 | Low Wind & Battery Cost | 27.234 | 16.8037 | 3.1789
| 2040 | Low Wind & Battery Cost | 28.7485 | 17.0609 | 3.5381
| 2042 | Low Wind & Battery Cost | 30.8045 | 17.7806 | 4.0676
| 2044 | Low Wind & Battery Cost | 32.2782 | 19.9039 | 4.3593
| 2046 | Low Wind & Battery Cost | 35.2736 | 20.3303 | 4.9004
| 2048 | Low Wind & Battery Cost | 35.7744 | 22.337 | 5.3747
| 2050 | Low Wind & Battery Cost | 38.3306 | 22.2834 | 6.081
| 2020 | Reference Case | 9.0993 | 4.2852 | 0.4686
| 2022 | Reference Case | 9.8537 | 4.485 | 0.27825
| 2024 | Reference Case | 10.3981 | 5.734 | 0.3683
| 2026 | Reference Case | 10.732 | 8.281 | 0.71888
| 2028 | Reference Case | 11.0994 | 10.6515 | 0.76774
| 2030 | Reference Case | 11.3424 | 14.7743 | 1.2803
| 2032 | Reference Case | 11.8841 | 15.5689 | 1.3893
| 2034 | Reference Case | 12.2253 | 16.3422 | 1.6627
| 2036 | Reference Case | 13.0126 | 18.0486 | 2.3832
| 2038 | Reference Case | 13.6587 | 20.043 | 3.0288
| 2040 | Reference Case | 14.0951 | 21.3733 | 3.6325
| 2042 | Reference Case | 15.2089 | 22.8031 | 4.3502
| 2044 | Reference Case | 16.482 | 24.4499 | 5.0181
| 2046 | Reference Case | 18.0005 | 25.8232 | 5.6336
| 2048 | Reference Case | 18.4126 | 27.9225 | 6.0671
| 2050 | Reference Case | 20.3537 | 28.8343 | 6.5423